Subtalar Fusion Open – Mr Gordon (NHS)

Antibiotics:	IV on induction

Tourniquet:	Velban, Ankle (arm tourniquet), Leukoplast tape

Inflated to 250mmHg after sterile Esmarch applied by surgeon

Position:	Supine, calf pumps, sandbag under ipsilateral buttock

Fluoroscopy:	Image Intensifier needed once joint surfaces prepared (1 hour into operation)

Skin Prep:	Alcoholic Chlorhexadine in Mr Gordon’s Sterile Bag

Drape:		Trolley cover, Hand & Foot drape, Optape

Ankle Block:	20mls 0.5% Bupivacaine (normally done by anaesthetist)

Equipment:	Orthosolutions 6.5mm cannulated screws set

-Cannulated drill 5x150mm (2461-14-629)

-Threaded guide pin x 2 (2461-40-129)

2.5mm drill with tissue protector

Stryker Large Drill

Ankle osteotomes

Orthosolutions small Hintermann distractor (if not available: 2 x large laminar spreader		(straight not curved)

Volkman spoon, Pituitary rongeur, Small nibbler, Black handles scissors

4 inch sterile Esmarch, 2 x light handles, Marker pen

Bipolar diathermy

Suction tubing + Frazier suction tip

Blades: 1 x 10, 2 x #15

X Ray cover

Saline wash + 20ml syringe

Orthosolutions Memory Staples (standby)

Day Surgery Set (McDonald dissector, Gilles forces, Adson forceps, cats paws, suture scissors, large Langenbeck)

Minor’s Set (mini Hohmann retractors, small bone nibbler)

Sutures:		2/0 undyed Vicryl (W9527), 2/0 Prolene (8026T), ½ “ steristrips cut in half

Dressings:	6” Velband

6” Crepe bandage

Below Knee plaster back slab

Postop Rehab:	Overnight stay

F/up at 2 (wound review) + 6 wks (Xrays on arrival)

Physio at 6/52 if necessary