Tarso-metatarsal (TMT) or Talonavicular Arthodesis (Fusion) – Mr Gordon (NHS)

Antibiotics:	IV on induction

Tourniquet:	Velban, Ankle (arm tourniquet), Leukoplast tape

Inflated to 250mmHg after sterile Esmarch applied by surgeon

Position:	Supine, calf pumps, sandbag under ipsilateral buttock

Fluoroscopy:	Image Intensifier needed once joint surfaces prepared (1 hour into operation)

Skin Prep:	Alcoholic Chlorhexadine in Mr Gordon’s Sterile Bag

Drape:		Trolley cover, Hand & Foot drape, Optape

Ankle Block:	20mls 0.5% Bupivacaine (normally done by anaesthetist)

Equipment:	Orthosolutions 4mm cannulated titanium screw set (inc. 2.9mm cannulated drill)

Orthosolutions 4mm titanium cupped washers

Orthosolutions Foot Plating Set (standby)

Orthosolutions Memory Staples (standby)

Conmed Linvatec Drill (Handpiece Pro 6100 + Saggital saw)

Small Hinterman distractor (‘Hinterman Wirefix Spreader’)

Ankle osteotomes

4 x 1.6mm single-ended K-wire

Day Surgery Set (bipolar diathermy, McDonald dissector, Gilles forces, Adson forceps,             cats paws, suture scissors, large Langenbeck)

Minor’s Set (mini Hohmann retractors, small bone nibbler)

4 inch sterile Esmarch, 2 x light handles, Marker pen

Bipolar diathermy

Suction tubing + Frazier suction tip

Blades: 1 x 10, 2 x #15

X Ray cover

Saline wash + 20ml syringe

Sutures:		2/0 undyed Vicryl (W9527), 2/0 Prolene (8026T), ½ “ steristrips cut in half

Dressings:	2 x Blue Gauze

4” Velband

4” Crepe bandage

Orthowedge flat post op shoe (M=male, F=female)

Postop Rehab:	Orthowedge shoe 6 wks

Home same day if safe

F/up at 2 (wound review) + 6 wks (Xrays on arrival)

Physio at 6/52 if necessary